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ISO/IEC 17025:2017 Compliance Review
FR-25 internal-audit checklist · generic gap analysis · not tailored to any document

DEMO SAMPLE — what this file is
A generic sample showing the structure and depth of a LabKitPro Compliance Review. The paid full version is built from your own self-assessment ratings plus your country / body / industry context, and adds the corrective-action guidance and linked remediation documents.
1  Purpose
Clause-by-clause self-assessment against the FR-25 internal-audit checklist (119 items) of ISO/IEC 17025:2017, producing a conformity rate per clause section, the weakest clause, and a gap and corrective-action list mapped to the laboratory’s own documents. A screen of an uploaded document reports only which audit points the document mentions — it is a coverage screen, not a compliance judgement.
2  Readiness summary (sample)
	Area
	Items
	Compliant
	Readiness
	Weakest point

	§4 General
	8
	7
	88%
	Impartiality commitment re-dating

	§5 Structural
	6
	5
	83%
	Responsibility matrix completeness

	§6 Resource
	24
	15
	63%
	Competence monitoring

	§7 Process
	49
	30
	61%
	Method validation evidence

	§8 Management
	32
	22
	69%
	Internal-audit trail


3  Sample gap and corrective-action list
	Clause
	Finding (sample)
	Required evidence
	Corrective-action hint

	§6.2
	Personnel competence records incomplete for two analysts
	Training and authorisation log
	Complete records; re-authorise on the record

	§7.2
	Method validation evidence thin for two scope methods
	Validation report per method
	Validate against the scope; keep the raw data

	§7.7
	QC / proficiency-testing coverage partial
	Control charts and PT records
	Define the monitoring plan; act on trends

	§7.5
	Uncertainty budgets exist but are not maintained
	Current budget per scope
	Refresh budgets; record reviewers

	§8.3
	Internal-audit trail sparse
	Audit plan and findings log
	Plan, run and log an audit; verify closure

	§8.9
	Management review inputs not fully recorded
	Management review record
	Use a structured input/output record


4  How a correction is closed (sample workflow)
Record the finding against the clause and the evidence inspected.
Contain the immediate effect (correction) and record it.
Determine the root cause — why the requirement was not met.
Define and implement the corrective action, with an owner and a due date.
Verify effectiveness at a defined interval, and close the record only then.
5  What the full deliverable adds
Your overall readiness rate — and the weakest clause, computed from your own ratings.
Body-specific focus — review points for YOUR body (A2LA / UKAS / NABL / …).
Industry focus woven in — so findings reflect your testing or calibration field.
Linked remediation templates — from the ISO/IEC 17025 knowledge base.
Exportable, watermark-free Word (.docx) — ready for your quality file.
This is a generic demonstration sample produced by LabKitPro. It shows structure, wording and evidence logic only — none of your personalization inputs (country, accreditation body, industry, stage, uploaded documents) are applied. The full, tailored and watermark-free deliverable is generated from your context at labkitpro.com.
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